Application of diffusion-edited NMR spectroscopy for selective suppression of water signal in the determination of monomer composition in alginates

Eric Morssing Viléna, Markus Klingerb and Corine Sandströma

(a) Department of Chemistry, Swedish University of Agricultural Sciences, P.O. Box 7015, 750 07 Uppsala, Sweden (b) DuPont/Danisco, Edwin Rahrs Vej 38, 8220 Brabrand, Denmark

Alginate, a structural polysaccharide in brown seaweeds, is a linear copolymer of 1-4 linked -D-Mannuronic acid (M) and 1-4 linked -L-Guluronic acid (G) residues. These residues are arranged in homopolymeric regions of M and G-blocks and regions of heteropolymeric MG-blocks. The chemical composition of alginates influences their physical properties, like gel properties and viscosity. Alginates are used in a vast range of industrial applications, many of which have different demand on the physical properties of the polysaccharide. Determination of the M/G ratio is therefore important and NMR spectroscopy is among the most common methods used to accurately obtain this ratio.

The viscosity of alginate samples is usually decreased by partial acid hydrolysis, which is time consuming and can possibly alter the sample. Instead samples of low concentration can be used. The drawback is that the residual water peak in the NMR spectrum is several orders of magnitude larger than the alginate signals so water suppression is needed. Commonly used techniques such as presaturation or pulse field gradient based techniques suffer from lack of specificity, and any other signals that overlap with the solvent peak will also be suppressed. These techniques have also been shown to alter the intensities of signals in NMR spectra of alginates [1], leading to significant errors in the calculation of the M/G-ratio.

By using a diffusion-filtered NMR experiment, the signal from water can be suppressed while retaining the signals of interest. This approach exploits the difference in translational diffusion between the larger, slowly diffusing, solute molecules and the smaller, faster diffusing, water molecules.

Using this method, the monomer composition of 20 different alginate powders has been determined. The diffusion parameters were optimized to allow measurement for samples covering a large range of M/G ratios and viscosities. Thus, such method should be useful for analyzing large numbers of unknown alginate samples using for example automation procedures.

[1] T. Salomonsen et al., Magnetic Resonance in Food Science (RCS), 2009, 12-19