Micro-Rheological Characterization of Hydrocolloids

Mathias Reufer

LS Instruments AG, Fribourg, Switzerland.

In this presentation we explore the potential of microrheology based on diffusing wave spectroscopy (DWS) to access rheological properties of hydrocolloids.

DWS-microrheology has several potential advantages over mechanical rheology such as the contact-free nature and the fast and reproducible data acquisition. Moreover, because the sample is not mechanically deformed, many potential artefacts like non-linear behaviour, shear banding and thixotropy can be avoided. This significantly simplifies studies on aging and gelling behaviour of shear sensitive samples like hydrocolloids typically form.

We demonstrate, using xanthan- and gelatine solutions, that DWS-microrheology is able to measure the elastic modulus G' and viscous modulus G'' over a huge frequency range at acquisition times of about 3 minutes. This fast and reproducible technique has especially a high potential in monitoring stability and quality in production chains.