Inter-laboratory analysis of cereal beta-glucan extracts of nutritional importance: An evaluation of different methods for determining weight-average molecular weight and molecular weight distribution

Simon Ballance1, Yudong Lu2, Hanne Zobel1, Anne Rieder1, Svein Halvor Knutsen1, Vlad T. Dinu2, Bjørn E. Christensen3, Ann-Sissel Ulset3, Marius Schmid4, Ndegwa Maina5, Antje Potthast6, Sonja Schiehser6, Peter R. Ellis7, Stephen E. Harding2,8

1Nofima AS - Norwegian Institute of Food, Fisheries and Aquaculture Research, PB 210, NO, 1431, Norway

2National Centre for Macromolecular Hydrodynamics (NCMH), University of Nottingham, School of Biosciences, Sutton Bonington, LE12 5RD, UK

3Department of Biotechnology and Food Science, NTNU, Trondheim, Norway

4ZentriForce Pharma Research GmbH, Heidelberg, Germany

5Department of Food and Nutrition, University of Helsinki, Helsinki, Finland

6Institute of Chemistry of Renewable Resources, University of Natural Resources and Life Sciences (BOKU), Muthgasse 18, A-1190, Vienna, Austria

7Biopolymers Group, Departments of Biochemistry and Nutritional Sciences, Faculty of Life Sciences and Medicine, King’s College London, Franklin-Wilkins Building, 150 Stamford Street, London, SE1 9NH, UK

8KHM, University of Oslo, Postboks 6762, St. Olavs Plass, 0130, Oslo, Norway

In an interlaboratory study we compare different methods to determine the weight-average molecular weight (Mw) and molecular weight distribution of six cereal beta-glucan isolates of nutritional importance. Size-exclusion chromatography (SEC) with multi-angle light scattering (MALS), capillary viscometry, sedimentation velocity analytical ultracentrifugation and one asymmetric flow field-flow fractionation (AF4)-MALS method all yielded similar Mw values for mostly individual chains of dissolved beta-glucan molecules. SEC with post-column calcofluor detection underestimated the Mw of beta-glucan >500 × 103 g/mol. The beta-glucan molecules analysed by these methods were primarily in a random coil conformation as evidenced from individual Mark-Houwink-Kuhn-Sakurada (MHKS) scaling coefficients between 0.5 and 0.6 and Wales-Van Holde ratios between 1.4 and 1.7. In contrast, a second AF4-MALS method yielded much larger Mw values for these same samples indicating the presence and detection of beta-glucan aggregates. Storage of the six beta-glucan solutions

in the dark at 4 °C for 4 years revealed them to be stable. This suggests an absence of storage-induced irreversible aggregation phenomena or chain-scission. Shear forces in SEC and the viscometer capillary and hydrostatic pressure in analytical ultracentrifugation probably led to the reversable dissociation of beta-glucan aggregates into molecularly dissolved species. Thus, all these methods yield true weight-average molecular weight values not biased by the presence of aggregates as was the case in one of the AF4 based methods employed.